ELBOW

A Trident (model #01.S10.13) 2.5” NH female swivel x 3.078” x 8 TPI male chrome plated brass 30 degree elbow shall be provided.