ELBOW

A Trident model #01.S10.27 2.841" X 8TPI female swivel x 2.5” NH female chrome plated brass 30 degree elbow shall be provided.