ELBOW

A Trident (model #01.S10.23) 2.950” x 8 TPI female swivel x 2.5” NH male chrome plated brass 30 degree elbow shall be provided.