ELBOW

A Trident model #01.S10.9 3.125” x 5TPI female swivel x 3.125” x 5 TPI male CSA chrome plated brass 30 degree elbow shall be provided.