ELBOW

A Trident model #01.S10.25 3.125” x 5TPI CSA female swivel x 2.5” NH male chrome plated brass 30 degree elbow shall be provided.