ELBOW

A Trident (model #01.S10.24) 3.156” x 6 TPI female swivel x 2.5” NH male chrome plated brass 30 degree elbow shall be provided.