ELBOW

A Trident (model #01.S02.14) 2.5” NH female swivel x 2.953” x 7.5 TPI male chrome plated brass 45 degree elbow shall be provided.