ELBOW

A Trident (model #01.S02.23) 2.5” NH female swivel x 2.968” x 8 TPI male chrome plated brass 45 degree elbow shall be provided.