ELBOW

A Trident model #01.S02.11 2.5” NH female swivel x 3.000” x 8TPI BCT male chrome plated brass 45 degree elbow shall be provided.