ELBOW

A Trident model #01.S02.6 2.5” NH female swivel x 3.031” x 7 TPI QST male chrome plated brass 45 degree elbow shall be provided.