ELBOW

A Trident (model #01.S02.7) 2.5” NH female swivel x 3.062” x 7 TPI male chrome plated brass 45 degree elbow shall be provided.