ELBOW

A Trident (model #01.S02.16) 2.5” NH female swivel x 3.125” x 5 TPI male chrome plated brass 45 degree elbow shall be provided.