ELBOW

A Trident (model #01.S02.15) 2.5” NH female swivel x 3.175” x 6 TPI male chrome plated brass 45 degree elbow shall be provided.