ELBOW

A Trident model #01.S02.12 2.5” NH female swivel x 3.220” x 5 TPI NSS male chrome plated brass 45 degree elbow shall be provided.