ELBOW

A Trident (model #01.S02.13) 2.841” x 8 TPI NPSH female swivel x 2.5” NH male chrome plated brass 45 degree elbow shall be provided.