ELBOW

A Trident (model #01.S02.8) 3.060” x 7 TPI female swivel x 2.5” NH male chrome plated brass 45 degree elbow shall be provided.