ELBOW

A Trident (model #01.S02.27) 3.125” x 5 TPI female swivel x 3.125” x 5TPI male chrome plated brass 45 degree elbow shall be provided.