ELBOW

A Trident model #01.016.0 3.000” NH female swivel x 3” NH male chrome plated brass 45 degree elbow shall be provided.