ELBOW

A Trident model #01.058.20 4” NH female swivel x 4” NH male chrome plated brass 30 degree elbow shall be provided.