ELBOW

A Trident model #01.058.0 4” NH female swivel x 4” NH male chrome plated brass 45 degree elbow shall be provided.