SWIVEL ADAPTER

A Trident (model #01.055.18) 1.5” female NPT 90 degree swivel x 1.5” NH male brass 90 degree tall arm chicksan swivel elbow with mounting pad shall be provided.