SWIVEL ADAPTER

A Trident (model #01.055.0) 2” NPT female x 1.5” NH male chrome plated brass 90 degree short arm chicksan swivel elbow shall be provided.