SWIVEL ADAPTER

A Trident (model #01.055.3) 2” NPT female x 1.5” NH male brass 90 degree long arm chicksan swivel elbow shall be provided.