SWIVEL ADAPTER

A Trident (model #01.055.6) 2” female NPT 90 degree swivel x 1.5” NH male brass 90 degree tall arm chicksan swivel elbow shall be provided.