SWIVEL ADAPTER

A Trident (model #01.055.16) 2” female NPT 90 degree swivel x 1.5” NPSH male brass 90 degree tall arm chicksan swivel elbow shall be provided.