SWIVEL ADAPTER

A Trident (model #01.086.1) 2.5” female NPT 90 degree swivel x 2.5” NH male brass tall arm chicksan swivel elbow shall be provided.