SWIVEL ADAPTER

A Trident (model #01.086.11) 2.5” female NPT 90 degree swivel x 2.5” NPSH male brass tall arm chicksan swivel elbow shall be provided.