SWIVEL ADAPTER

A Trident (model #01.055.26) 2” female NPT 90 degree swivel x 1.5” NH male chrome plated brass 90 degree tall arm chicksan swivel elbow with mounting pad shall be provided.