SWIVEL ADAPTER

A Trident (model #01.055.9) 2” Victaulic 90 degree swivel x 1.5” NH male brass 90 degree tall arm chicksan swivel elbow with mounting pad shall be provided.