SWIVEL ADAPTER

A Trident (model #01.086.5) 2.5” female NPT 90 degree swivel x 2.5” NH male brass mounting pad chicksan swivel elbow shall be provided.