SWIVEL ADAPTER

A Trident (model #01.086.6) 2.5” Victaulic 90 degree swivel x 2.5” NH male brass mounting pad chicksan swivel elbow shall be provided.