SWIVEL ADAPTER

A Trident (model #01.055.22) 2” female NPT 90 degree swivel x 1.5” NH male flange mounting chrome plated brass tall arm chicksan swivel elbow shall be provided.