SWIVEL ADAPTER

A Trident (model #01.055.29) 2” female NPT 90 degree swivel x 1.5” NPSH male flange mounting brass tall arm chicksan swivel elbow shall be provided.

| Chick Swivel, TEP, 2"F NPT 90° Swivel x 1.5"M NH, Flng Mnt, Short Arm, cp | 01.055.29 |
| --- | --- |