SWIVEL ADAPTER

A Trident (model #01.055.24) 2” Victaulic 90 degree swivel x 1.5” NH male flange mounting chrome plated brass tall arm chicksan swivel elbow shall be provided.