SWIVEL ADAPTER

A Trident (model #01.086.7) 2.5” female NPT 90 degree swivel x 2.5” NH male brass flange mounting chicksan swivel elbow shall be provided.