SWIVEL ADAPTER

A Trident model #01.086.4 2.5” VIC x 2.5” NH male, double swivel mounting brass chicksan swivel elbow shall be provided.