FRONT INTAKE SWIVEL ADAPTER

A Trident model #01.013.0 5” female NPT 90 degree swivel x 6” NH male chrome plated brass chicksan swivel elbow shall be provided.