CONTROL VALVE

A Trident model #30.007.1 straight type .500” ball type control valve with a rectangular chrome plated brass handle shall be provided.