CONTROL VALVE

A Trident model #30.002.7 .750” ball type 90 degree valve with a round chrome plated brass handle shall be provided.