CONTROL VALVE

A Trident model #30.006.1 .750” ball type straight valve with a rectangular chrome plated brass handle shall be provided.