CONTROL VALVE

A Trident model #30.006.4 .750” ball type straight valve with a round chrome plated brass handle shall be provided.