CONTROL VALVE

A Trident model #30.044.0 .750” ball type 90 degree valve with a chrome plated brass lever type handle shall be provided.