CONTROL VALVE

A Trident model #30.019.2 1” ball type 90 degree valve with a rectangular chrome plated brass handle shall be provided.