CONTROL VALVE

A Trident model #30.022.1 1” ball type straight valve with a rectangular chrome plated brass handle shall be provided.