MASTER GAUGE TEST CONNECTION PANEL

A Trident (model #14.003.2) master pump pressure gauge test connection panel shall be installed with .250” push-on tees.   The assembly shall have a horizontal mounting plate and labeled name plate.