MASTER GAUGE TEST CONNECTION PANEL

A Trident (model #09.023.1) master pump pressure gauge test connection panel shall be installed with .250” NPT bulkhead fitting assembly, plugs, and labeled name plate.