PANEL MOUNTED STRAINER

A Trident (model #21.005.2) panel mounted strainer with 10 mesh screen (foam compatible) with cap shall be provided.