VALVE CONTROL – TOP MOUNT ASSEMBLY

A Trident (model #27.004.1) pump panel mounted top mounted control assembly shall be installed.  The unit shall have a 135 degree swing with a locking type handle.  The assembly shall have a chrome plated brass rectangular handle with name plate insertion recess area.