VALVE CONTROL – TOP MOUNT BELL CRANK ASSEMBLY

A Trident (model #27.004.2) pump panel mounted top mounted bell crank control assembly shall be installed.