BALL VALVE

A Trident model #30.056.0 nickel plated brass valve, with 1" NPT female threaded inlet and outlet shall be provided.